# MEP ESTIMATION REQUEST

Al Reem Tower - Dubai Marina

Prepared by: SABI Estimation Department

Date: April 8, 2026

Client: Al Futtaim Group

Reference: RFQ/AFG/2026/0415

# 1. PROJECT OVERVIEW

Al Reem Tower is a Grade-A commercial office building located in Dubai Marina, comprising 24 floors above ground with 4 basement parking levels. The total built-up area is approximately 185,000 square feet with a typical floor-to-floor height of 3.6 meters. The building is designed to achieve LEED Gold certification and will serve as the regional headquarters for multiple multinational corporations.

The developer, Al Futtaim Group, requires a comprehensive MEP estimation covering HVAC, Electrical, Plumbing, and Fire Fighting services. The quotation deadline is May 15, 2026, and SABI has been invited to submit a competitive bid based on the attached drawings and specifications.

## 1.1 Building Details

| Parameter | Value |
| --- | --- |
| Building Type | Commercial Office (Grade A) |
| Total Floors | 24 + 4 Basement |
| Total Area | 185,000 sqft |
| Typical Height | 3.6 m |
| Location | Dubai Marina, Plot 12-B |
| Developer | Al Futtaim Group |
| Consultant | KEO International Consultants |
| Target Certification | LEED Gold |
| Submission Deadline | May 15, 2026 |

# 2. SCOPE OF WORK

SABI shall provide a complete MEP estimation for the following services:

- HVAC (Heating, Ventilation & Air Conditioning) - VRF system with FAHU for fresh air

- Electrical - Power distribution, lighting, emergency systems, earthing & lightning protection

- Plumbing - Water supply, drainage, hot water system, sanitary fixtures

- Fire Fighting - Sprinkler system, wet riser, fire pump set, hose reel cabinets

# 3. HVAC SYSTEM ANALYSIS

Based on the thermal load calculations from the HVAC drawings, the total calculated cooling load is 1,035.4 kW (294.4 TR). The recommended system is a Variable Refrigerant Flow (VRF) system with dedicated Fresh Air Handling Units (FAHUs) for ventilation.

## 3.1 Thermal Load Summary

| Floor | Zone | Load (kW) | System | Units |
| --- | --- | --- | --- | --- |
| Basement 1 | Parking | 0 | Exhaust Only | 0 |
| Basement 2 | Parking | 0 | Exhaust Only | 0 |
| Ground Floor | Lobby & Reception | 85.5 | VRF | 12 |
| Mezzanine | Meeting Rooms | 42.3 | VRF | 8 |
| 1st Floor | Open Office | 125.8 | VRF | 18 |
| 2nd Floor | Open Office | 125.8 | VRF | 18 |
| 3rd Floor | Open Office | 125.8 | VRF | 18 |
| 4th Floor | Open Office | 125.8 | VRF | 18 |
| 5th Floor | Open Office | 125.8 | VRF | 18 |
| 6th Floor | Executive Suites | 98.4 | VRF | 14 |
| 7th Floor | IT & Server Room | 180.2 | Precision AC | 6 |
| Roof | Plant Room | 0 | N/A | 0 |
| TOTAL |  | 1035.4 |  | 130 |

## 3.2 System Breakdown

Total Calculated KW: 1,035.4 kW

FAHU KW: 180.2 kW (Fresh Air Handling)

AC Unit KW: 855.2 kW (Total - FAHU = Net AC Load)

Tonnage: 855.2 / 3.517 = 243.2 TR

System Type: VRF (Variable Refrigerant Flow) — based on tonnage range 50-300 TR

# 4. PRICING SUMMARY

The estimated MEP pricing is based on current market rates (Q2 2026) and includes supply, installation, testing, and commissioning of all specified systems. Rates are exclusive of VAT (5%).

| Service | Amount (AED) | AED/sqft |
| --- | --- | --- |
| HVAC | 3,250,000 | 17.57 |
| Electrical | 1,850,000 | 10.00 |
| Plumbing | 920,000 | 4.97 |
| Fire Fighting | 780,000 | 4.22 |
| TOTAL | 6,800,000 | 36.76 |

## 4.1 Yardstick Comparison

Market benchmark for Grade-A Office (Dubai): AED 32 - 42 per sqft

Our estimate: AED 36.76 per sqft — WITHIN RANGE

# 5. TERMS & CONDITIONS

- Prices are valid for 30 days from the date of this quotation

- Payment terms: 30% advance, 60% progress, 10% upon completion

- Mobilization period: 2 weeks from receipt of confirmed order

- Warranty: 12 months from date of handover for all MEP works

- Excludes: Civil works, architectural finishes, furniture, IT/networking

- All works shall comply with Dubai Municipality and DEWA regulations

Prepared by: SABI Estimation Department
Approved by: George Varkey M — Technical Director
Contact: george@sabi.ae | +971 4 XXX XXXX