## Slide 1
MEP ESTIMATION
SUMMARY
Al Reem Tower — Dubai Marina
SABI MEP Contractors
April 2026

## Slide 2
Project Overview
Parameter | Details
Building | Al Reem Tower — 24F + 4B Office
Client | Al Futtaim Group
Location | Dubai Marina, Plot 12-B
Area | 185,000 sqft

## Slide 3
Height | 3.6m typical floor-to-floor
Consultant | KEO International Consultants
Deadline | May 15, 2026
MEP Scope | HVAC + Electrical + Plumbing + Fire Fighting

## Slide 4
HVAC System Analysis
Metric | Value
Total Cooling Load | 1,035.4 kW
FAHU Load | 180.2 kW
Net AC Load | 855.2 kW
Total Tonnage | 294.4 TR
System Type | VRF (Variable Refrigerant Flow)
Outdoor Units | 8 x 22HP
Indoor Units (Ducted) | 120 units
Indoor Units (Decorative) | 45 units
FAHUs | 4 x 5,000 CFM

## Slide 5
MEP Pricing Summary
Service | Amount (AED) | AED/sqft
HVAC | 3,250,000 | 17.57
Electrical | 1,850,000 | 10.00
Plumbing | 920,000 | 4.97
Fire Fighting | 780,000 | 4.22
TOTAL | AED 6,800,000 | 36.76
Yardstick: AED 32-42/sqft (Grade-A Office, Dubai)
Our Estimate: AED 36.76/sqft — WITHIN RANGE
Valid for 30 days | Excl. VAT 5%

## Slide 6
Next Steps
1. Review estimation with Technical Director
2. Finalize service scope and quantities
3. Prepare detailed BOQ spreadsheet
4. Submit quotation to Al Futtaim Group
5. Follow up within 7 days
George Varkey M — Technical Director
george@sabi.ae | SABI MEP Contractors